## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Md Cum CEO, Dharamshala Smart City Ltd
Name of Work: Request for Selection of System Integrator for Supplying, Installation, Testing, Commissioning of Smart LED based Street Lighting System with Retrofitting of Existing System and operation & Maintenance for 5-years at Dharamshala
Tender Contract No: DSCL/11/2020
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT INCLUDING All Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supplying, installation, Testing &Commissioning of LED light fixture of 45 watt for street lighting complete with all materials, as required. Materials as approved by " DSCL" & As per direction of Engineer-in – Charge. |  | 186 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Supplying, installation, Testing &Commissioning of LED light fixture of 36 watt for street lighting complete with all materials, as required. Materials as approved by " DSCL" & As per direction of Engineer-in – Charge. |  | 520 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Supplying, installation, Testing &Commissioning of LED light fixture of 24 watt for street lighting complete with all materials, as required. Materials as approved by " DSCL" & As per direction of Engineer-in – Charge. |  | 4557 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Removing &Shifting of Existing luminaires from electric service line pole and fixing in Proposed street light pole (Approx.) complete With all accessories as required. |  | 2280 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | Supplying and erection of hot dip galvanized Octagonal Pole height- 5 M suitable with Single arm band,including J-bolt & base plate complete with fixing of all materials. Pole should be PU painted (Polyurethane Paint) & Powder coated with suitable colour including carriage of materials with all lead and lifts. Materials as approved by " DSCL" & As per direction of Engineer-in - Charge |  | 3281 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | Supplying and erection of hot dip galvanized Octagonal Pole height- 6 M suitable with Single arm band, including J-bolt & base plate complete with fixing of all materials. Pole should be PU painted (Polyurethane Paint) & Powder coated with suitable colour including carriage of materials with all lead and lifts. Materials as approved by " DSCL" & As per direction of Engineer-in - Charge |  | 2206 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | Supplying and erection of hot dip galvanized Octagonal Pole height- 7 M suitable with Single arm band, including J-bolt & base plate complete with fixing of all materials. Pole should be PU painted (Polyurethane Paint) & Powder coated with suitable colour including carriage of materials with all lead and lifts. Materials as approved by " DSCL" & As per direction of Engineer-in - Charge |  | 1491 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Relocating & erection of existing metallic MS Tubular pole of length/ Height above from ground 6.5 meter and overall is 8.0 meter, with PCC in cement concrete 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 40 mm nominal size), including RCC work in M20 grade with supplying, fitting and placing HYSD bar for reinforcement foundation including excavation and refilling etc. Pole should be PU painted (Polyurethane Paint) & Powder coated with suitable colour including carriage of materials with all lead and lifts. as required. |  | 314 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Demolition of cement concrete / block pavement / drain etc including disposal of unserviceable materials to all lead and lifts. & As per direction of Engineer-in–Charge. |  | 677 | Cum. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Providing foundation for Proposed Street Light with RCC M20 including excavation in all types of soil, back filling , dewatering etc. complete as per drawing & specifications.
10.1 | Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material. |  | 5698 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.2 | Plain cement concrete 1:3:6 nominal mix in foundation with crushed stone aggregate 40 mm nominal size mechanically mixed, placed in foundation and compacted by vibration including curing for 14 days with carriage of materials for all leads and lifts as per Engineer-in–Charge. |  | 155 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.3 | Supplying, fitting and placing HYSD bar (Fe 500) reinforcement in sub-structure complete as per drawing and Technical Specifications including carriage of materials for all leads and lifts as per Engineer-in–Charge. |  | 286 | mt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.4 | Reinforced Cement Concrete (RCC Grade M20) in Open Foundation complete as per Drawing and Technical Specifications including carriage of materials for all leads and lifts as per Engineer-in–Charge. |  | 2379 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Through Drilling in Road/Street by mechanical mean for laying the HDPE Pipe without damaging/breaking the carriageway. As per Engineer-in–Charge. |  | 725 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Providing and laying heavy duty precast cement concrete inter locking paver blocks vibro compacted upto M-50 grade over service corridor i/c border or kurb block grey or coloured over sub-base of 30mm thick sand bed :- 60mm thick as per design pattern and colour approved |  | 875 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | Supplying, Installation, Testing and Commissioning outdoor type centralized control and monitoring system (Smart Feeder Panel) consisting of following materials As per Technical Specification. Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 48 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | Supplying, installation, Testing and commissioning outdoor type Automatic phase selector for street lighting system with its all required accessories. As per Engineer-in–Charge. |  | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Supplying and Erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required: - Single pole. Cat-A. Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 1813 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing, laying and fixing of one No. aluminium conductor, PVC insulated and PVC sheathed, armoured/XLPE power cable, working voltage 1100 volts grade on surface etc. of the required size:-Armoured cable 25 sq. mm (3.5 core) For CCMS Panel, Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 1200 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing, laying and fixing of one No. aluminium conductor, PVC insulated and PVC sheathed, armoured/XLPE power cable, working voltage 1100 volts grade on surface etc. of the required size, including suitable size of jointing Kits and aluminium lugs. :-Armoured cable Four Core 10 sq. mm { For Overhead & Underground Cabling system}, Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 193572 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Providing, laying and fixing of PVC insulated flexible power cable, working voltage 1100 volts grade on surface etc. of the required size, including suitable size of jointing Kits and aluminium lugs. :-3- Core 6 Sq.mm flexible cables for single phase power supply. Materials as approved by “DSCL" & As per direction of Engineer-in–Charge. |  | 29407 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 120 mm dia (OD-17 mm & ID-103 mm nominal), Materials as approved by “DSCL" & As per direction of Engineer-in – Charge. |  | 24871 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Providing and fixing of Stay clamp suitable for Poles including with arrangement of fixing the eye hook for Overhead cabling system, Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 5226 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing and fixing of Eye Hook set with suitable Locking arrangements for Power cable in Overhead cabling system, Materials as approved by " DSCL" & As per direction of Engineer-in–Charge.. |  | 5226 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Supplying, Installation, Testing &Commissioning of GI earthling / grounding protection system for LED Based Street Lighting including all these following materials ; { 1. GI earthing rod 40 X 2 Mtr, 2. chemical bag (15kg) in 2 nos, 3. Advance Maintenance free gel chemical (5 Ltr.), 4.GI wire 8 Sq mm, 5. Inspection Cover (300 X 300), 6. Installation& Commissioning charges , 7.Shipping Charges}, Labour Charges & as required. Materials as approved by " DSCL" & As per direction of Engineer-in–Charge. |  | 1872 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Supplying, Installation, Testing & Commissioning, Web Server Charges/ Sim Charges of Five Year Time duration for street lighting system: As per Engineer-in–Charge. |  | 48 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Supplying, Installation, Testing & Commissioning NGFW / FIREWALL for Street lighting System including Licences for Five years maintenance, complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Supplying, Installation, Testing & Commissioning of Street light Application Software including Licence with Five year Maintenance. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Supplying, Installation, Testing & Commissioning of Application Server for the street lighting system, including Licences for Five years maintenance, complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | Supplying, Installation, Testing & Commissioning of Database Server for the street lighting system, including Licences for Five years maintenance, complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Supplying, Installation, Testing & Commissioning UPS System with minimum 120 minutes Battery Backup on SMF Batteries & suitable arrangements / cabinet for Batteries, complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Supplying, Installation, Testing & Commissioning VR Rack, 42u x 800mm x 1100mm, with (1) 77% Perforated Locking Front Door, (2) 77% Perforated Split Locking Rear Doors, (2) pair 19” Mounting Rails, (4)Split Side Panels with locking slam latch, Tool less Removable Top Panel, Casters and Levelling Feet, (2) Full Height PDU/Cable Mgt. Brackets,(1) Baying Kit, (50) M6 Cage Nuts and Screws, Colour RAL 7021 Black complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Supplying, Installation, Testing & Commissioning Vertical Cable Manager 600mm Wide 42U (Qty 2) complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Supplying, Installation, Testing & Commissioning Vertical Cable Manager for 800mm Wide 42U (Qty 2) complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Supplying, Installation, Testing & Commissioning 1U 19" Black Plastic Tool less Airflow Blanking Panel (Qty 10) complete with all necessary accessories. : As per Engineer-in–Charge. |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Supplying, Installation, Testing & Commissioning Monitored, Unit Level, 32A, 230V, 1 Phase, Vertical, 36 IEC C13, 6 IEC C19,breakered, 3m power cord with 2P+E (IP44) – Socket level Monitoring complete with all necessary accessories. : As per Engineer-in–Charge. |  | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Supplying, Installation, Testing & Commissioning of Air- conditioning System for the Central Street Light Management System of Street lighting System. The Air- conditioning (AC) is suitable with BEE 5* ( Five Star) Rating & complete with all necessary accessories. : As per Engineer-in - Charge: As per Engineer-in–Charge. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Operation & Maintenance Engineer - 3 Nos., : As per Engineer-in–Charge. |  | 180 | Man Month. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Electrician (Grade - I)- 8 Nos. (for operating the 24x7 call centre), : As per Engineer-in–Charge. |  | 480 | Man Month. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
37 | Operation and Maintenance of street lighting system including posts, arms and luminaries, control Panels switch gears, Hardware and Software and all components, tools & plants, etc., for 4 years ,(excluding DLP), : As per Engineer-in–Charge. |  | 374256 | No./Month |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | Operation and Maintenance of street lighting system including posts, arms and luminaries, control Panels switch gears, Hardware and Software and all components, tools & plants, etc., for 1 years (Other proposed new lights are in DLP for this time duration. ) : As per Engineer-in–Charge. |  | 33420 | No./Month |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information