## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Md Cum CEO, Dharamshala Smart City Ltd
Name of Work: Construction of Toilet blocks in Govt. Senior Secondary Boys School Dharamshala
Tender Contract No: DSCL/08/2020
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT INCLUDING All Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Demolition above G.L. upto all floor level including disposal of unserviceable materials within 20 Metres lead in un reinforced cement concrete upto 15cm thickness. |  | 1.2 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
2 | Demolition of brick work above G.L. upto all floor level including stacking of serviceable materials and disposal of un-serviceable materials within 20 Metres lead in cement mortar. |  | 32.016 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Demolition of stone masonry (Rubble Masonary wall) in cement mortar. below G.L. upto all depths including stacking of serviceable materials and disposal of un-serviceable materials upto all leads and lifts as per Engg. In Charge. |  | 104.4 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Cutting in for all kind kind of learth work and disposal of excavated earth upto all leads and lifts as per Engg. In Charge. |  | 12 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | Excavation in foundationsin all kind of soil/rock, trenches etc, in earth work, such as all kind of soil/rock with all leads and lifts and stacking the excavated soil not more than 3 metres clear from the edge of the excavation and then returning the stacked in 15cm. layers, when required in to plinths sides of foundations etc., consolidating each deposited layer by ramming and watering and then disposing of all surplus excavated earth as directed by Engg. In Charge. |  | 196.045 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | Excavation in drains and channels etc. in earth work including dressing of side and bed and disposing of excavated earth upto all leads & lift disposed earth to be levelled and neatly dressed in all kind of soil as per direction of Engineer in charge. |  | 7.7 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto upto all leads and lifts and as per direction of Engineer in charge. |  | 29.622 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Providing and filling in plinth with sand under floors including watering, ramming, consolidating and dressing complete includes all carriage and lead lift as per Engg.in charge. |  | 7.5 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Stone/boulder filling under floors/behind retaining walls of selected hard stone including carriage of material in all leads & lifts and as per direction of Engineer in charge. |  | 32.4885 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Providing and laying cement concrete mechanically mixed 1:4:8 (1 cement : 4 sand : 8 graded stone aggregate 40mm nominal size) curing complete excluding cost of form work in foundation and plinth including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 34.402 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Providing and laying cement concrete mechanically mixed 1:3:6 (1 cement : 3 sand : 6 graded stone aggregate 40mm nominal size) curing complete excluding cost of form work in foundation and plinth including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 8.5365 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Providing and laying cement concrete 1:2:4 (1 cement:2 sand :4 graded stone aggregate 40mm nominal size) and curing complete excluding cost of form work in:Foundation and plinth Walls including attached but tresses, pilasters, and their caps and bases and string courses etc. upto floor two level.including all taxes and carriage of material upto all leads & lifts, and as per direction of Engineer incharge. |  | 4.025 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | Providing and laying cement concrete 1:1.5:3 (1 cement :1.5 sand :3 graded stone aggregate 20mm. nominal size) and curing complete excluding cost of form work and reinforcement for reinforced concrete work in foundation & plinth, walls including attached buttresses, pilasters and their caps and bases string courses etc.and independent piers, columns and pillars up to floor two level. including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 63.1681 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | Providing Tor steel reinforcement Fe500 for R.C.C. work including bending, binding and placing in position complete upto all floor level including cost of binding wire with carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 6367.35 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centering, shuttering, strutting and propping etc. with wooden battens and ballies, height of propping and centering below supporting floor to ceiling upto all heights and removal of the same for insitu-reinforced concrete & plain concrete work in foundation,footings basis of columns etc. and mass concrete floors etc. upto 200mm thickness for vertical & horizontal, and flat & circular surfaces of, soffit, beam, slab, column and retaining structure etc. |  | 963.978 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing form work with steel plates 3.15mm.thick welded with angle iron in frame 30x30x5mm. so as to give a fair finish including centering, shuttering, strutting and propping etc.and removal of the same for insitu-reinforced concrete & plain concrete work in drains.i/c carriage of materials of all leads and lifts as per Engg. in Charge. |  | 44 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Steel work welded in built up sections / hollow section, in beams joists channels ,angles ,tee ,flats with connection plates or angle cleats as in main and cross beems, hip and jack rafters, purlins connected to common rafters and the like and in In gratings framed guard bars, ladders, railling,brackets and similar works trusses and framed work including cutting, hoisting, fixing in position and applying a priming coat of red lead paint including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 2.9326 | qtl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Random rubble masonry/ polygonal rubble masonry (Uncoursed/brought to courses) with hard stone of approved quality in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 Sand : 12 Graded stone aggregate 20mm nominal size) in cement mortar 1:6 (1 cement:6 sand) in breast walls and retaining walls also inclusive the rate of carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 15 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Providing and laying cement concrete 1:4:8 (1cement :4sand :8 graded stone aggregate 40mm. nominal size) with 15 % plum and curing complete excluding cost of form work in retaining walls/ Breast walls, the size of plums shall usually be 150mm. to 300mm. as per H.P.P.W.D. Specification including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 278.4 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Brick work using common burnt clay second class building bricks with cement mortar 1:3 (1 cement : 3 sand) in super-structure above plinth level upto all floorlevel including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 54.5181 | cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing and fixing of G.I. wire 5mm thick corresponding to SWG-8. 50mm.x 50mm. Mesh with all taxes and including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 39.9 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Providing and laying weep hole in brick masonry/stone, masonry/plain reinforced concrete in abutment,wing wall,retaining wall with 110 mm diameter PVC pipe extending through the full width of the structure with slope of 1:20 as per drawing and technical specification including carriage of material in all leads and lifts and as per direction of Engineer incharge. |  | 353.7037 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Providing weep holes in R.C.C drain with 50 mm dia PVC pipe, extending through the full width of the structure with slope of 1:20 towards drawing face. Complete as per drawing and Technical Specifications and including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 20 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and laying heavy duty precast cement concrete 80mm thick laminated interlocking paver blocks vibro compacted upto M-40 grade i/c border or kurb block grey or colored over sub-base of concrete with 25mm thick average thickness of cement mortar 1:4 (1 cement : 4 sand) laid over and jointed with neat cement slurry mixed with pigment to match the shade of blocks i/c curing rubbing & polishing complete including carriage of material upto all leads and lifts and as per direction of Engineer incharge. (Sub base concrete floor to be paid for separately). |  | 15 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Painting two coats (excluding priming coat) on new steel and other metal surface under coat with ready mixed paint brusing to give an even shade including cleaning the surface all dirt, dust and other foreign matter with readymixed paint other than white including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 8.164 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Pointing on Random rubble uncoursed stone masonary with cement mortar 1:3 (1 cement :3 sand) raised and cut pointing including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 11.75 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | 15mm Cement plaster in cement mortar 1:4 (1 cement : 4 sand) in single coat on the rough side of brick/ concrete/ stone walls for interior plastering upto floor two level including arrises,internal rounded angles, chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 251.04 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | 15mm cement plaster in cement mortar 1:3 (1 cement :3 sand) in two coats backing coat 10mm and finishing coat 5mm thick on fair side of brick masonry/stone masonry/concrete walls for interior plastering upto floor two level including arrises,internal rounded angles, chamfers and/or rounded angles not exceeding 80mm in girth and finished even and smooth including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 190.81 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | White or other cloured glazed/ anti skid or digital floor, ceramic and wall tiles 6 mm thick in flooring, treads of steps,landing and in skirting risers of steps and dado 12 mm laid on a bed of 12 mm thick cement mortar 1:3(1 cement :3 sand) finished with flush pointing in white cement including carraige of materials with all leads and lifts as per engineer in charge. |  | 429.41 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | 6mm Cement plaster to ceiling of in Cement mortar 1:3 (1 Cement:3 Sand) including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 155.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Ruled pointing on brick work with cement mortar 1:3 (1 cement:3 sand) including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 156.165 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Applying one coat of distemper primer of approved brand and manufacture on wall surfaces and over ceiling and/ sloping roofs after thoroughly brushing the surface free from mortar droppings and other foreign matter and including preparing the surface even and sand papered smooth including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 596.95 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Finishing wall with water proofing cement paint of approved brand and manufacture and of required shade on undecorated wall surfaces(two coats)to give an even shade after thoroughly brushing the surface to remove all dirt and remains of loose powdered materials including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 294.67 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Painting two coats (excluding priming coat) on new concrete / masonry/ plastered surfaces with enamel paint of approved brand and manufacture for use on floors to give an even shade, including cleaning of all dirt, dust and other foreign matter and sand papering as required including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 406.14 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Providing and laying damp proof course to horizontal surface with cement mortar 1:2 (1 cement:2 sand) and curing complete with applying a coat of hot bitumen (mexphalt 80/100 or equivalent) using 1.70 kg. per square metre on damp proof course after cleaning the surface with a piece of cloth lightly soaked with kerosene including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 133.11 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Providing and laying four courses water proofing treatment with bitumen felt over roofs consisting of first and third courses of blow or / and residual bitumen applied hot at 1.45 kg per sq .m of area for each course second course of roofing felt type 3 grade 1 (hessian base self finished bitumen felt) and fourth and final course of stone grit 6 mm and down size or pea sized gravel spread at 6 cu.dm or 0.006 cu.m) per sq.m. Welding preparation of surface excluding grading complete including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 155.1 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
37 | Providing and fixing anodised aluminium work for door, window, ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS 733 and IS 1285 anodised transparent or dyed to required shade according to IS 1868. (Minimum anodic coating of grade AC 15) fixed with rawlplugs and screws or with fixing clips, or with expansion hold fastners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminium sections shall be smooth, rustfree, straight, mitred and jointed mechanically where ever required including cleat angle, aluminium, snap beading for glazing/panelling C.P. brass/stainless steel screws. All complete as per the directions of Engineer-In-Charge. |  | 217.1478 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | Providing and fixing anodised aluminium work for door, window, ventilators for shutters of doors windows & ventilators including providing and fixing hinges/pivots and making provisions for fixing of fittings where ever required including the cost of PVC/neoprene gaskets as required (fittings and glazing/panelling shall be paid for separately). |  | 253.422 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39 | Providing and fixing glazing glass panes of 5mm thickness (weight not less than 13.75kg/sqm). in aluminium door, window, ventilator shutters and partition etc with PVC/neoprens gasket etc. complete as per the architectural drawings and the directions of Engineer-In_charge (cost of aluminium snap beading shall be paid in basic item). |  | 7.2 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
40 | Providing and fixing ACP sheet of 4mm thickness. in aluminium door, window, ventilator shutters and partition etc with PVC/neoprens gasket etc. complete as per the architectural drawings and the directions of Engineer-In_charge (cost of aluminium snap beading shall be paid in basic item). |  | 38.8 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
41 | Providing and fixing M.S. pressed but hinges with necessary screws. (Copper oxidised) 125x65x2.12mm |  | 72 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42 | Providing fixing bright finished brass tower bolts (barrel type) with screws etc. complete. 250x10 mm |  | 48 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42.1 | 100x10 mm |  | 24 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
43 | Providing and fixing bright finished brass 100mm. Mortice latch and lock and a pair of levers, handles with necessary screws etc. complete (indian make of approved quality) |  | 24 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
44 | Providing and fixing 125mm bright finished brass handles with screws etc. complete. |  | 24 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
45 | Providing and fixing high pressure 110 mm dia. PVC Spigot and Socket, waste and ventilating pipe ISI Marked including fixing with approved adhesive complete. |  | 40 | rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
46 | Providing and fixing 110 mm dia. PVC Plain bend ISI Marked including fixing with approved adhesive complete. |  | 40 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
47 | Providing and fixing 110 mm dia. PVC door bend with oval acess door, insertion rubber washer 3 mm thick bolts and nuts ISI marked complete including fixing with approved adhesive complete. |  | 30 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
48 | Providing and fixing 110 mm X 75 mm. PVC floor trap ISI Marked of self cleaning design including fixing with approved adhesive, cost of cutting amd making good the walls and floor etc. complete |  | 40 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
49 | Providing and fixing 110 mm dia. PVC Collar ISI Marked including fixing with approved adhesive complete. |  | 72 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
50 | Providing and fixing PVC Clamps ISI Marked of approved design with steel screw and rawl plug etc.complete :-110 mm dia PVC clamp. |  | 80 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
51 | Providing and fixing square-mouth PVC gully trap complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design. |  | 52 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 24 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 2 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
54 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of (430 x 260 x 350)mm and (340 x 430 x 265)mm sizes respectively with automatic flushing cistern (5 litres cap.) with fittings R.S. or C.I. Brackets standard size galvanised steel flush pipe and spreaders with brass unions and G.I clamps. Complete including painting of cistern and fittings cutting and making good the walls floors where required including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 8 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
55 | Providing and fixing division plate for urinals 600mmx330mm size i/c all necessary plugs screws and fitting fixtures with carriage of all leads and lifts of the materials, as approval of Engg. In charge. |  | 2 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
56 | Providing and fixing vitreous wash down floor mounted water closet (WC) with size (475x370x420)mm white colour studio set along with C.P.JET,SEAT COVER, CISTERN (10ltr. cap.) and twin flushing valves etc. complete in all respect, water closet ( European Type - WC pan) with integral 'p' or 's' trap including jointing the trap with soil pipe in cement mortar 1:1 ( one cement, one sand) (with cistern, seat cover and flush fitting) Star White including carriage of materials upto all leads and lifts and as per direction of Engineer in charge. |  | 14 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
57 | Providing and fixing Health faucet ABS with rubbit cleaning system, flexible tube upto 1.25 mtr. long PVC Flexible tube & ABS wall hook to extended wall mounted type W.C. of quality and make as approved by Engineer - in - charge. |  | 14 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
58 | Providing and fixing Oval Shape 450x350 mm wash basin on R.C.C Slab, including 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, and making good the walls wherever require. |  | 13 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
59 | Providing and fixing CP brass bib tap with capstan head 15mm dia with wall flange and areator including carriage of material to all leads and lifts and as per direction of Engineer incharge. (Long nose) |  | 35 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
60 | Providing and fixing P.V.C. waste pipe with coupling for wash basin/urinals and sink including carriage of material upto all leads and lifts and as per direction of Engineer incharge. |  | 14 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
61 | Providing and fixing S.S rail handle 32 mm dia including carriage of material upto all leads and lift and as per direction of Enigneer incharge. |  | 23 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
62 | Providing and fixing 15mm nominal size CP brass angle valve/ Stop Cock with flange including carriage of material to all leads and lifts and as per direction of Engineer incharge. |  | 9 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
63 | Providing and fixing C. P. Brass shower rose with 15mm or 20 mm inlet: 85mm with single flow and shower arm including carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64 | Providing and fixing in tranches galvanized mild steel tubes (Medium Grade) as per IS Code 1239 tube fitting exacavation for tranches will be measured and paid saprately including carriage of material up to all leads and lifts and as per direction of Engineer incharge. Jindal/Tata make or equivalent.
64.1 | 15mm nominal bore |  | 80 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64.2 | 20mm nominal bore |  | 65 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
65 | Providing and fixing M.I.Union for wash basin or sink 32mm dia including carriage of material to all leads and lifts and as per direction of Engineer incharge.
65.1 | 15mm dia |  | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
65.2 | 20 mm dia |  | 40 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
66 | Providing and fixing 100 mm X 6 Kgf pvc Poly plast sewerage pipe of working pressure not less than 4.5 kg per square metre (Four point five kilogramme per square metre) including filling the joints with approved adhesive complete |  | 150 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
67 | Providing and fixing 100 mm pipes P or S Trap for water closet Sand cast iron including carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 27 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
68 | Providing and fixing C.P.Brass Towell rail Rack complete with C.P. Brass brackets fixed to wooden plugs with C.P. Brass (600mmx20mm). including carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 15 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
69 | Providing and fixing (500 X 700 X 5)mm Readymade mirror of superior glass mounted on wodden plugs with C.P. brass screw including carriage of material upto all leads and lifts and as per direction of Engineer incharge |  | 9 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
70 | Providing and fixing Corner Glass shelves (medium) including carriage of material upto all leads and lifts and as per direction of Engineer incharge |  | 11 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
71 | Providing and fixing CP brass soap dish with CP brass brackets fixed to wooden cleats with CP brass screws including carriage of material to all leads and lifts and as per direction of Engineer incharge. |  | 25 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
72 | Providing & Fixing in position best Indian make coat and hat robe hooks fixed into wall with c.p. brass screws and rawl plugs etc. complete including cutting and making good the walls etc.including carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 10 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73 | Providing and fixing C.P. toilet Paper Holder including carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 14 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
74 | Providing and fixing PVC connections pipe with brass unions 45cm length 15 mm nominal bore including carriage of material in all leads and lifts |  | 40 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75 | Providing and fixing brass full way valve with wheel 15mm size including carriage of material in all leads and lifts. | [6 empty] | Excess(+) | 1 | Full Conversion | INR
75.1 | 15mm dia |  | 7 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75.2 | 20 mm dia |  | 7 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
76 | Providing and fixing PVC Tee 110mm dia, including carriage of material in all leads and lifts. |  | 30 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
77 | Kota stone slab flooring 25 mm (average) thick base of cement mortar 1:4 (1 cement :4 sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab. including rubbing and polishing complete. |  | 500 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
78 | Providing and laying 20mm.thick granite stone in flooring/RCC counter 20mm(average) thickness base of cement mortar 1:3(1cement: 3 sand) laid over and jointed with grey cement slurry mixed with pigment to match the shade of granite stone i/c rubbing and polishing complete. |  | 5.16 | sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
79 | Providing and fixing PVC water storage tank 1000 litres net capacity tank, of ISI : 12701 marked,G.I. inlet and outlet connection, 15mm nominal bore ball valve and mosquito proof PVC cover with locking arrangement including hoisting upto a height of 10 metres above ground level with carriage of material up to all leads and lifts and as per direction of Engineer incharge. |  | 3 | no.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
80 | Wiring for light point / fan point / exhaust fan / call bell point with 1.5 Sq. mm. PVC insulated heat resistant flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in surface/recessed steel conduit with modular switch, modular plates, suitable G.I. box and earthing the light point with 1.5 Sq.mm. HRFRLS/PVC insulated single core copper conductor cable as required. Light Point - Group A |  | 14 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
81 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. S.P. 5/ 6 Amps one way Modular switch. |  | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
82 | Supplying and fixing following rating Modular switch /socket in the existing switch box / cover plate including connections etc. as required. 5 pin, 5/ 6 Amps Modular socket outlet. |  | 4 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
83 | Providing and fixing , straight linear LED tubelight 1200 mm , 18- watt LED Tubelight , complete with all accessories, connections, testing and commissioning etc. as required. |  | 14 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
84 | Supplying and fixing of following way, single pole and neutral sheet steel MCB distribution board, 240 volts, on surface / recess, complete with tinned copper bus- bar, wire-set, neutral link, earth bar, din-bar, detachable gland plate, blanking plate, cable, identification labels interconnections, phosphatized and powder painted, including earthing etc. as required:-Double door-8 way |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
85 | Supplying and fixing following rating, double pole (single phase & neutral) 240 volts, residual current circuit breaker (RCCB), having a sensitivity current up to 300 miliampers in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 Amps. Cat-A. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
86 | Supplying and erection of 40/50/63 amps rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:- Double pole. Cat-A. |  | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
87 | Supplying and erection of 6 amps. to 32 amps. rating, 10 KA breaking capacity, 240 volts, 'C' curves, miniature circuit breaker of following poles in the existing MCB DB complete with connections etc. as required:-Single pole. Cat-A. |  | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
88 | Providing and laying of one No. aluminium conductor, PVC insulated and PVC sheathed, armoured/XLPE power cable, working voltage 1100 volts grade direct in ground; to be laid 1 meter below the ground level including excavation sand cushioning, protective covering and refilling the trench etc. of the required size:- Armoured cable 6 sq. mm (twin core) |  | 100 | R.Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
89 | Supplying and drawing following size of PVC insulated, heat resistant, flame retardant (HRFR) and low smoke single core (flexible) copper conductor cable in existing surface / recessed, Steel/PVC conduit as required. PVC insulated HRFR LS Copper conductor 3 x 1.5 Sq. mm. |  | 20 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
90 | Supplying, Installation, Testing & Commissioning of Copper Bonded Electrode 50 MM X 2000 MM Supply Of Advance Maintenance Free Chemical Gel Earthing Electrode X 2000 mm, Filled With Highly Conductive Metallic Compound Mixture CCM, With The Permanent Sealing Of The Both End , 20x3 mm Copper Bonded Electrode 50 MM X 2000 MM Supply Of Advance Maintenance Free Chemical Gel Earthing Electrode 50 mm With The Strip of gi, Terminal 40 mm x 6mm, Terminal Hole 10mm, with two backfill compound bags each containing 25 kgs of chemical. including with Pit Covers, 6 mm wire on surface or in recess for loop earthing as required., & Labour Charges As per Engineer -in Charge.Earthing system standrad must be as per IS 3043:1987, IS 3043: 2018 or equivalent IEC code. |  | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information