## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: MD cum CEO, Dharamshala Smart City Limited
Name of Work:Setting Up 5 MTD Capacity pre segregeted MSW feedstock based Biogas plant in Dharamshala with operation and Maintenance for 3 year
Contract No:DSCL/05/2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With all Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Earth work in excavation of all kind of soil by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  | 200.67 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Earth work in excavation of all kind of soil by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 5.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  | 514.84 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Providing & Laying Stone solling or boulder filling under floors/behind retaining walls of selected hard stone including carriage of material upto all leads & lifts and as per direction of Engineer in charge. |  | 87.07 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Providing and laying in position cement concrete in specified grade excluding the cost of centering and shuttering all work upto plinth level in 1:3:6 (1 Cement: 3 coarse sand) : 6 graded stone aggregate 20 mm nominal size) including cost of materials with all leads and lifts as per Engineer In charge. |  | 46.79 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Providing and laying in position specified grade of reinforced cement concrete 1:1.5:3 (1 cement : 1.5 coarse sand): 3 graded stone aggregate 20 mm nominal size), excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level including cost of materials with all leads and lifts as per Engineer In charge |  | 18.61 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge for all works upto all heights & Levels (Note :- Cement content shall not be less than 330 kg/cum. |  | 195.52 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing & Laying Steel reinforcement Thermo-Mechanically Treated bars of grade Fe-500D or more, for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/ workshop to construction site including placing in position and binding all complete uptoall height including cost of materials with all leads and lifts as per Engineer In charge. |  | 26950.78 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Centering and shuttering including strutting, propping etc. and removal of form for , Foundations, footings, bases of columns, etc. for mass concrete including cost of materials with all leads and lifts as per Engg. In charge. |  | 25.63 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 1031.45 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Providing & Fixing Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all completed including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 6943.01 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to all floor levels in cement mortar 1:6 (1 cement : 6 coarse sand). ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 8.99 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Providing corrugated G.S. sheet roofing 1.00 mm thick with zinc coating not less than 275 gm/m² including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 498.42 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and fixing 1.00 mm thick FRP sheet in roofing i/c fixing with prepainted iron J or L hooks, bolts and nuts 6mm dia metre with prepainted limpet and rubber washers complete with all accessories as required ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 117.57 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 5.67 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 24 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Providing and mixing integral crystalline admixture for water proofing treatment to RCC structures like basement raft, retaining walls, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc. at the time of transporting of concrete into the drum of the ready-mix truck, using integral crystalline admixture @ 0.80% (minimum) to the weight of cement content per cubic meter of concrete) or higher as recommended by the manufacturer’s specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI-212-3R- 2010 i.e. by reducing permeability of concrete by more than 90%, compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the Engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 407.68 | Kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete, Serrated with central bulb (225 mm wide, 8-11 mm thick) ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 100.8 | Rmt. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Washed stone grit plaster on exterior walls height upto 10 metre above ground level, in two layers, under layer 12 mm cement plaster 1:4 (1 cement : 4 coarse sand ), furrowing the under layer with scratching tool, applying cement slurry on the under layer @ 2 Kg of cement per square metre, top layer 15 mm cement plaster 1:1/ 2:2 (1 cement: 1/2 coarse sand : 2 stone chipping 10 mm nominal size), in panels with groove all around as per approved pattern, including scrubbing and washing the top layer with brushes and water to expose the stone chippings ,complete as per specification and direction of Engineer-in-charge (payment for providing grooves shall be made separately) ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 107.06 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Finishing with Epoxy paint (two or more coats) on steel work at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 2226.03 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Mixed waste Grinder - 5 HP Motor of Approved make as per ISI/BS standard and Grinder should be of SS. Maximum size of the output grid should be 20mm x 20mm , sets (1W+1SB) ncluding carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing and Installation of Biogas storage balloon made of PVC rubber,100 cubic meter (Double membrane PVC membrane) having safety relief valve, fire resistant, pressure gauge, drain and necessary safety features. including carriage of material upto all leads and lifts as per direction of Engineer In Charge. Note:- i) Central Shell Should be of SS 302 Grade. ii)All Inter connecting piping should be of UPVC/CPVC/HDPE/GI of Approved make as per ISI/BS standard. |  | 2 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Providing and Installation, Erection, testing & commissioning, of Slurry pumps – including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i) Capacity 3 HP ii) Approved make as per ISI/BS standard iii) Pump Impeller Should be of SS 302 |  | 2 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Providing and Installation, Erection, testing & commissioning, Biogas Scubbing Systems - 3 Tanks, including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i)15 Cum / Hr, ii) Tanks should be of MS 5mm thick sheet with Approved FRP and Epoxy Coatings iii) Approved make as per ISI/BS standard, |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Providing and Installation, Erection, testing & commissioning, Bio gas & Slurry recirculation system inside the Digester for recirculation 200 ft , including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i)All piping should be of UPVC 6kg Pressure ISI Approved. ii)50mm Pipe Size |  | 1 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Providing and Installation, Erection, testing & commissioning, Biogas Flow Meter, including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i)Display should be of Digital type ii)Flow rate Should be of 40cum/hr |  | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Providing and Installation, Erection, testing & commissioning, Biogas Blower, including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i)Make as per ISI/BS standard. -3 Hp ii)Flow Rate 15cum/ Hr. iii)Ground Mounting MS Frame with required Epoxy Coatings. |  | 2 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | Providing and Installation, Erection, testing & commissioning,Biogas pressure Vessel along with pressure gauge, including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i) Tank of 1.5m Diameter and 1m length, ii) Tanks should be of MS 5mm thick sheet with Approved FRP and Epoxy Coatings. iii)All Inter connecting piping should be of UPVC/CPVC/HDPE/GI approved make and as per ISI/BS Approved. |  | 1 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Providing and Installation, Erection, testing & commissioning, Control panels for crushers and blower and slurry pump along with all electric cabling:- including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i)Approved make as per ISI/BS standard. ii)Internal Assembly should be of L&T ISI Approved |  | 3 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Providing and Installation, Erection, testing & commissioning, 100% Run Biogas Engine including carriage of material upto all leads and lifts as per direction of Engineer In Charge. i) Approved make as per ISI/BS standard. ii) with Canopie and Earthing system. |  | 1 | No.s |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Providing, fixing and laying, Piping & Cabling, UPVC/GI and HDPE including with its special fittings and required acessories including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Providing and Installation, Erection, testing & commissioning, For 200 cum Biogas power project including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Providing and Installation, Erection, testing & commissioning, Cluture Loading 150Tons, For 200 cum Biogas power project including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Providing and Installation, Erection, testing & commissioning, of Fresh Waste Pre-Segregation Unit having 10TPD of mixed waste. including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Providing and Installation, Erection, testing & commissioning, of Pit-less Weighbridge shall have minimum capacity of 30MT including carriage of material upto all leads and lifts as per direction of Engineer In Charge. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Total Operation & Maintanence of the project for 3 years after completion including Labour, miscllaneous and all material cost as per requirement complete. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information